DATE ____________________

RE: Sewer Waiver on Second Water Meters

The purpose of this letter is to request a sewer waiver due to the installation of a second water meter with an Irrigation system or hose bibs at the below address:

Address: _______________________________________________________________

The property owner wishes to install a permanent second water meter for an Irrigation system or outside hose bibs and has agreed to the below requirements:

- Meter Fee must be paid

- Install an appropriate water meter as specified by the Hiawatha Water Department at the owner’s expense.

- Install an appropriate Reduced Pressure Backflow Preventer (RPZ) at owner’s expense.

- Provide the city with an accurate drawing of the overall installation.

- Agree to pay a monthly base meter charge as set by the Hiawatha Water Board Standard Meter Rate.

- Agree to an annual certified inspection and testing of the RPZ. A copy of the certified inspection form must be sent to the City of Hiawatha, per City Ordinance; Chapter 156.07, Section 12.

Customer: ______________________

Phone:  ________________________

_____________________________

Water Department Recommendation

Marty Recker – Water Superintendent